2006 BUILDING CODE COMPENDIUM

# 2006 BUILDING CODE CHANGE REQUEST FORM

# CONTACT INFORMATION:

Do you agree to permit sharing all information on this form with the Canadian Commission on Building and Fire Codes and

Building Code Review Committees for the purposes of code development?

YES

NO

I am submitting this on behalf of: 	Myself, or

Organization:

Name: *

# Your Title: *

# Your Name: *

# Address: *

# City: Toronto

# Province: Ontario

# Postal Code: *

# Telephone: *

Facsimile: *

# Email: *

# Your function: Builder / Contractor

(if submitting on behalf of yourself) 	Building Official

Building Owner / Manager

Designer / Architect / Engineer

- Home Owner / General Public

# Supplier / Manufacturer

Other: ______________________________________

# CODE CHANGE REQUEST:

To an existing code provision: Division B, Part 9, Section 9.21, Subsection 9.21.4., Sentence 9.21.4.4.(1)

Code Reference of the Requested Change:

Division, Part, Section, Subsection, Article, Sentence, etc.eg: Div. B, 9.32.3.5.(1)

Add a new code provision

Have you forwarded this change to the Canadian Commission on Building and Fire Codes as a proposed amendment to the

model National Building or Plumbing Codes? 	YES

NO

Personal information provided on this form is collected under the authority of the Building Code Act, 1992 and will be used

for the purpose of code development. Please direct any questions about the collection of information by mail to the following

address:

Manager, Code Development, Legislation and Appeals

Building and Development Branch

777 Bay Street 2nd Fl., Toronto, Ontario M5G 2E5

telephone: (416) 585-6666

or by facsimile at: (416) 585-7531

2006 BUILDING CODE COMPENDIUM

| REQUESTED CHANGE/ADDITION: What wording do you propose for the change? | Wording is not proposed, but a revised sentence, 9.21.4.4(1), should capture what is stated in the explanation below. |
| --- | --- |
| PROBLEM: Why should the existing provision be revised? If requesting an addition to the Code, what is missing? | Sentence 9.21.4.4.(1) applies only to the property where the construction is taking place. The impact that the resulting building, even when constructed in accordance with the Building Code, could have on the chimney of an existing adjacent building is not considered. |
| JUSTIFICATION/EXPLANATION: How does the requested change address the problem? | An amendment to sentence 9.21.4.4(1) should take into account the location and height of chimneys, both existing and proposed, to all adjacent buildings – similar to the CSA B149.1-05 Natural Gas and Propane Installation Code. Additionally, a new provision should be created to allow neighbouring properties to enter into agreements, similar to the limiting distance agreements described in Division B, Sentence 9,10.14.2.(4) of the Building Code, regarding separation distances required between adjacent buildings for unprotected openings. |
| OBJECTIVE(S): Which of the Code’s objectives does the requested change address? See Part 2 of Division A of the Building Code for the list of objectives. | OH3.4 An objective of this Code is to limit the probability that, as a result of the design or construction of a building, a person in or adjacent to the building will be exposed to an unacceptable risk of injury due to hazards caused by exposure to hazardous substances. Also OP3.1 and OE could be considered. OH1.1 would have to be taken into account for the adjacent building affected by the construction. |
| COST/BENEFIT IMPLICATIONS: Will the change entail any added costs? Will it provide benefits that are measurable? | There are no cost implications directly associated with this proposed change as compliance is already required under the Natural Gas and Propane Installation Code. However, amending this provision will reduce the unanticipated financial impacts on homeowners of surrounding infill projects who may be required to relocate their existing chimney or install a high efficiency furnace or remove or change gas fireplaces vented through the chimney as a result of the requirements of the Natural Gas and Propane Installation Code. |
| ENFORCEMENT IMPLICATIONS: Can the requested change/addition be enforced by the infrastructure available to enforce this Code? Will its enforcement require an increase in resources? | The requested amendment would be enforceable under the existing infrastructure and would not require an increase in resources. The requested change will reduce the number of complaints and issues that have been created with respect to chimney installations and construction of infill residential buildings on adjacent properties. If the proposed amendments are made to the Building Code, the enforcement activity associated with these types of complaints will be eliminated, resulting in a reduction of resources required. |
| OTHER COMMENTS: For example, identify other Code requirements affected by the requested change, etc. | While there are no Building Code requirements affected by the proposed change, TSSA enforces Section 814 of the Natural Gas and Propane Installation Code - which regulates chimney height above buildings. TSSA’s interprets this to apply to all buildings surrounding the chimney installation, whether located on the same property or an adjacent property. Due to construction taking place on adjacent property, and TSSA’s enforcement of this standard, people may have their gas supply shut off until they either relocate their existing chimney or install a high efficiency furnace and/or change or remove gas fireplaces. |
| ATTACHED SUPPORTING MATERIAL: | City of Toronto Staff Report dated May 16, 2007. “Adverse Effects Caused by the Issuance of Building Permits on Adjacent Buildings” adopted by Toronto City Council in May, 2007 http://www.toronto.ca/legdocs/mmis/2007/pg/bgrd/backgroundfile-3919.pdf |

Present only one change request per form. Duplicate the form as necessary. You may attach additional pages or use any other

format to submit your request as long as all the information indicated above is included. Mail or fax to:

# Director, Building and Development Branch, Ministry of Municipal Affairs and Housing

777 Bay Street 2nd Floor, Toronto, Ontario M5G 2E5 Fax: (416) 585-7531